## 2016-02-25_OHA_SignLocations.cs
Sign Type | Location | Description | Message Side A | Message Sign B | Building | Floor | Notes
TWC | TWC ¦ N201 | Two Way Communication | See layout |  | N | 2
TWC | TWC ¦ N202 | Two Way Communication | See layout |  | N | 2
TWC | TWC ¦ N301 | Two Way Communication | See layout |  | N | 3
TWC | TWC ¦ N302 | Two Way Communication | See layout |  | N | 3
TWC | TWC ¦ N401 | Two Way Communication | See layout |  | N | 4
TWC | TWC ¦ N402 | Two Way Communication | See layout |  | N | 4
TWC | TWC ¦ N501 | Two Way Communication | See layout |  | N | 5
TWC | TWC ¦ N502 | Two Way Communication | See layout |  | N | 5
TWC | TWC ¦ N601 | Two Way Communication | See layout |  | N | 6
TWC | TWC ¦ N602 | Two Way Communication | See layout |  | N | 6
TWC | TWC ¦ N701 | Two Way Communication | See layout |  | N | ROOF
TWC | TWC ¦ S201 | Two Way Communication | See layout |  | S | 2
TWC | TWC ¦ S202 | Two Way Communication | See layout |  | S | 2
TWC | TWC ¦ S301 | Two Way Communication | See layout |  | S | 3
TWC | TWC ¦ S302 | Two Way Communication | See layout |  | S | 3
TWC | TWC ¦ S402 | Two Way Communication | See layout |  | S | 4
TWC | TWC ¦ S401 | Two Way Communication | See layout |  | S | 4
TWC | TWC ¦ S502 | Two Way Communication | See layout |  | S | 5
TWC | TWC ¦ S501 | Two Way Communication | See layout |  | S | 5
TWC | TWC ¦ S602 | Two Way Communication | See layout |  | S | 6
TWC | TWC ¦ S601 | Two Way Communication | See layout |  | S | 6
T24 | T24 ¦ N101 | Title 24 Restroom Plaque | UNISEX |  | N | 1
T24 | T24 ¦ S101 | Title 24 Restroom Plaque | UNISEX |  | S | 1 | CONFIRM GENDER
T24 | T24 ¦ S102 | Title 24 Restroom Plaque | UNISEX |  | S | 1 | CONFIRM GENDER
T24 | T24 ¦ S201 | Title 24 Restroom Plaque | UNISEX |  | S | 2
SIT | SIT ¦ N101 | Stair Level ID | *1 |  | N | 1
SIT | SIT ¦ N102 | Stair Level ID | 2 |  | N | 1
SIT | SIT ¦ N201 | Stair Level ID | 2 |  | N | 2
SIT | SIT ¦ N202 | Stair Level ID | 2 |  | N | 2
SIT | SIT ¦ N301 | Stair Level ID | 3 |  | N | 3
SIT | SIT ¦ N302 | Stair Level ID | 3 |  | N | 3
SIT | SIT ¦ N401 | Stair Level ID | 4 |  | N | 4
SIT | SIT ¦ N402 | Stair Level ID | 4 |  | N | 4
SIT | SIT ¦ N501 | Stair Level ID | 5 |  | N | 5
SIT | SIT ¦ N502 | Stair Level ID | 5 |  | N | 5
SIT | SIT ¦ N601 | Stair Level ID | 6 |  | N | 6
SIT | SIT ¦ N602 | Stair Level ID | 6 |  | N | 6
SIT | SIT ¦ N701 | Stair Level ID | R |  | N | ROOF
SIT | SIT ¦ N702 | Stair Level ID | R |  | N | ROOF
SIT | SIT ¦ S101 | Stair Level ID | *1 |  | S | 1
SIT | SIT ¦ S102 | Stair Level ID | *1 |  | S | 1
SIT | SIT ¦ S103 | Stair Level ID | *1 |  | S | 1
SIT | SIT ¦ S104 | Stair Level ID | *1 |  | S | 1
SIT | SIT ¦ S201 | Stair Level ID | 2 |  | S | 2
SIT | SIT ¦ S202 | Stair Level ID | 2 |  | S | 2
SIT | SIT ¦ S301 | Stair Level ID | 3 |  | S | 3
SIT | SIT ¦ S302 | Stair Level ID | 3 |  | S | 3
SIT | SIT ¦ S401 | Stair Level ID | 4 |  | S | 4
SIT | SIT ¦ S402 | Stair Level ID | 4 |  | S | 4
SIT | SIT ¦ S501 | Stair Level ID | 5 |  | S | 5
SIT | SIT ¦ S502 | Stair Level ID | 5 |  | S | 5
SIT | SIT ¦ S601 | Stair Level ID | 6 |  | S | 6
SIT | SIT ¦ S602 | Stair Level ID | 6 |  | S | 6
SIT | SIT ¦ S701 | Stair Level ID | R |  | S | ROOF
SIT | SIT ¦ S702 | Stair Level ID | R |  | S | ROOF
SII | SII ¦ N101 | Stairwell Information | STAIR N1 ROOF ACCESS *1 EXIT THIS LEVEL 1 THROUGH ROOF |  | N | 1
SII | SII ¦ N102 | Stairwell Information | STAIR N2 ROOF ACCESS *1 EXIT THIS LEVEL 1 THROUGH ROOF |  | N | 1
SII | SII ¦ N201 | Stairwell Information | STAIR N1 ROOF ACCESS 2 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 2
SII | SII ¦ N202 | Stairwell Information | STAIR N2 ROOF ACCESS 2 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 2
SII | SII ¦ N301 | Stairwell Information | STAIR N1 ROOF ACCESS 3 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 3
SII | SII ¦ N302 | Stairwell Information | STAIR N2 ROOF ACCESS 3 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 3
SII | SII ¦ N401 | Stairwell Information | STAIR N1 ROOF ACCESS 4 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 4
SII | SII ¦ N402 | Stairwell Information | STAIR N2 ROOF ACCESS 4 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 4
SII | SII ¦ N501 | Stairwell Information | STAIR N1 ROOF ACCESS 5 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 5
SII | SII ¦ N502 | Stairwell Information | STAIR N2 ROOF ACCESS 5 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 5
SII | SII ¦ N601 | Stairwell Information | STAIR N1 ROOF ACCESS 6 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 6
SII | SII ¦ N602 | Stairwell Information | STAIR N2 ROOF ACCESS 6 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | 6
SII | SII ¦ N701 | Stairwell Information | STAIR N1 ROOF ACCESS R DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | ROOF
SII | SII ¦ N702 | Stairwell Information | STAIR N2 ROOF ACCESS R DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | N | ROOF
SII | SII ¦ S101 | Stairwell Information | STAIR S2 NO ROOF ACCESS *1 EXIT THIS LEVEL 1 THROUGH 2 |  | S | 1
SII | SII ¦ S102 | Stairwell Information | STAIR S3 ROOF ACCESS *1 EXIT THIS LEVEL 1 THROUGH ROOF |  | S | 1
SII | SII ¦ S103 | Stairwell Information | STAIR S4 NO ROOF ACCESS *1 EXIT THIS LEVEL 1 THROUGH 2 |  | S | 1
SII | SII ¦ S104 | Stairwell Information | STAIR S1 ROOF ACCESS *1 EXIT THIS LEVEL 1 THROUGH ROOF |  | S | 1
SII | SII ¦ S201 | Stairwell Information | STAIR S1 ROOF ACCESS 2 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 2
SII | SII ¦ S202 | Stairwell Information | STAIR S3 ROOF ACCESS 2 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 2
SII | SII ¦ S301 | Stairwell Information | STAIR S1 ROOF ACCESS 3 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 3
SII | SII ¦ S302 | Stairwell Information | STAIR S3 ROOF ACCESS 3 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 3
SII | SII ¦ S401 | Stairwell Information | STAIR S1 ROOF ACCESS 4 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 4
SII | SII ¦ S402 | Stairwell Information | STAIR S3 ROOF ACCESS 4 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 4
SII | SII ¦ S501 | Stairwell Information | STAIR S1 ROOF ACCESS 5 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 5
SII | SII ¦ S502 | Stairwell Information | STAIR S3 ROOF ACCESS 5 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 5
SII | SII ¦ S601 | Stairwell Information | STAIR S1 ROOF ACCESS 6 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 6
SII | SII ¦ S602 | Stairwell Information | STAIR S3 ROOF ACCESS 6 DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | 6
SII | SII ¦ S601 | Stairwell Information | STAIR S1 ROOF ACCESS R DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | ROOF
SII | SII ¦ S602 | Stairwell Information | STAIR S3 ROOF ACCESS R DOWN TO 1 FOR EXIT 1 THROUGH ROOF |  | S | ROOF
RPR | RPR ¦ S101 | Property Regulations | SEE LAYOUT |  | S | 1
RPR | RPR ¦ S102 | Property Regulations | SEE LAYOUT |  | S | 1
RE | RE ¦ N101 | Room ID, Exterior | TRASH ROOM N106 |  | N | 1
RE | RE ¦ N102 | Room ID, Exterior | TRANSFORMER N107 |  | N | 1
RE | RE ¦ N103 | Room ID, Exterior | GAS METERS N108 |  | N | 1
RE | RE ¦ N104 | Room ID, Exterior | WATER ROOM N109 |  | N | 1
RE | RE ¦ N105 | Room ID, Exterior | FIRE PUMP N118 |  | N | 1
RE | RE ¦ N106 | Room ID, Exterior | BIKE STORAGE N103 |  | N | 1
RE | RE ¦ N701 | Room ID, Exterior | EXIT STAIR DOWN |  | N | ROOF
RE | RE ¦ N702 | Room ID, Exterior | ELEVATOR LOBBY |  | N | ROOF | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
RE | RE ¦ N703 | Room ID, Exterior | BOILER ROOM N733 |  | N | ROOF
RE | RE ¦ N704 | Room ID, Exterior | INVERTER ROOM N732 |  | N | ROOF
RE | RE ¦ N705 | Room ID, Exterior | EXIT STAIR DOWN |  | N | ROOF
RE | RE ¦ N706 | Room ID, Exterior | TRASH & RECYCLING |  | N | ROOF
RE | RE ¦ S101 | Room ID, Exterior | GAS METER ROOM S135 |  | S | 1
RE | RE ¦ S102 | Room ID, Exterior | MAINTENANCE S112B |  | S | 1
RE | RE ¦ S103 | Room ID, Exterior | BREAK ROOM |  | S | 1 | GLASS MOUNT BACK TO BACK WITH R4-S121
RE | RE ¦ S104 | Room ID, Exterior | DOG WASH |  | S | 1 | GLASS MOUNT BACK TO BACK WITH R4-S122
RE | RE ¦ S105 | Room ID, Exterior | ELECTRICAL ROOM S113 |  | S | 1
RE | RE ¦ S701 | Room ID, Exterior | BOILER ROOM S736 |  | S | ROOF
RE | RE ¦ S702 | Room ID, Exterior | INVERTER S740 |  | S | ROOF
RE | RE ¦ S703 | Room ID, Exterior | INVERTER ROOM S739 |  | S | ROOF
RE | RE ¦ S704 | Room ID, Exterior | BOILER ROOM S738 |  | S | ROOF
RE | RE ¦ S705 | Room ID, Exterior | EXIT STAIR DOWN |  | S | ROOF
RE | RE ¦ S706 | Room ID, Exterior | EXIT STAIR DOWN |  | S | ROOF
RADA | RADA ¦ N101 | ADA Restroom Plaque | UNISEX |  | N | 1
RADA | RADA ¦ S101 | ADA Restroom Plaque | UNISEX |  | S | 1 | CONFIRM GENDER
RADA | RADA ¦ S102 | ADA Restroom Plaque | UNISEX |  | S | 1 | CONFIRM GENDER
RADA | RADA ¦ S201 | ADA Restroom Plaque | UNISEX |  | S | 2
R4 | R4 ¦ N106 | Room ID, Secondary | ELECTRICAL ROOM N115 |  | N | 1
R4 | R4 ¦ N107 | Room ID, Secondary | ELECTRICAL ROOM N115 |  | N | 1
R4 | R4 ¦ N108 | Room ID, Secondary | RETAIL N102A |  | N | 1
R4 | R4 ¦ N109 | Room ID, Secondary | TRASH VESTIBULE N117 |  | N | 1
R4 | R4 ¦ N110 | Room ID, Secondary | TRASH VESTIBULE N117 |  | N | 1
R4 | R4 ¦ N101 | Room ID, Secondary | TRASH ROOM N101 |  | N | 1
R4 | R4 ¦ N102 | Room ID, Secondary | TRASH ROOM N101 |  | N | 1
R4 | R4 ¦ N201 | Room ID, Secondary | TRASH & RECYCLING |  | N | 2
R4 | R4 ¦ N202 | Room ID, Secondary | STORAGE N234 |  | N | 2
R4 | R4 ¦ N203 | Room ID, Secondary | MECHANICAL ROOM N232 |  | N | 2
R4 | R4 ¦ N204 | Room ID, Secondary | STORAGE N239 |  | N | 2
R4 | R4 ¦ N301 | Room ID, Secondary | TRASH & RECYCLING |  | N | 3
R4 | R4 ¦ N302 | Room ID, Secondary | MECHANICAL ROOM N332 |  | N | 3
R4 | R4 ¦ N303 | Room ID, Secondary | STORAGE N334 |  | N | 3
R4 | R4 ¦ N304 | Room ID, Secondary | STORAGE N339 |  | N | 3
R4 | R4 ¦ N401 | Room ID, Secondary | TRASH & RECYCLING |  | N | 4
R4 | R4 ¦ N402 | Room ID, Secondary | STORAGE N434 |  | N | 4
R4 | R4 ¦ N403 | Room ID, Secondary | MECHANICAL ROOM N432 |  | N | 4
R4 | R4 ¦ N404 | Room ID, Secondary | STORAGE N439 |  | N | 4
R4 | R4 ¦ N501 | Room ID, Secondary | TRASH & RECYCLING |  | N | 5
R4 | R4 ¦ N502 | Room ID, Secondary | STORAGE N534 |  | N | 5
R4 | R4 ¦ N503 | Room ID, Secondary | MECHANICAL ROOM N532 |  | N | 5
R4 | R4 ¦ N504 | Room ID, Secondary | STORAGE N539 |  | N | 5
R4 | R4 ¦ N601 | Room ID, Secondary | STORAGE N639 |  | N | 6
R4 | R4 ¦ N602 | Room ID, Secondary | TRASH & RECYCLING |  | N | 6
R4 | R4 ¦ N603 | Room ID, Secondary | STORAGE N634 |  | N | 6
R4 | R4 ¦ N604 | Room ID, Secondary | MECHANICAL ROOM N632 |  | N | 6
R4 | R4 ¦ N701 | Room ID, Secondary | ELEVATOR CONTROL ROOM N739 |  | N | ROOF
R4 | R4 ¦ S101 | Room ID, Secondary | ELECTRICAL ROOM S131 |  | S | 1
R4 | R4 ¦ S102 | Room ID, Secondary | PLUMBING ROOM S132 |  | S | 1
R4 | R4 ¦ S103 | Room ID, Secondary | ELECTRICAL ROOM S133 |  | S | 1
R4 | R4 ¦ S104 | Room ID, Secondary | FIRE PUMP ROOM S134 |  | S | 1
R4 | R4 ¦ S105 | Room ID, Secondary | BIKE ROOM S108 |  | S | 1
R4 | R4 ¦ S106 | Room ID, Secondary | PARKING GARAGE |  | S | 1
R4 | R4 ¦ S107 | Room ID, Secondary | TRASH ROOM S112A |  | S | 1
R4 | R4 ¦ S108 | Room ID, Secondary | ELEVATOR CONTROL ROOM S119B |  | S | 1
R4 | R4 ¦ S109 | Room ID, Secondary | MANAGER'S OFFICE |  | S | 1 | CONFIRM ROOM NAME
R4 | R4 ¦ S110 | Room ID, Secondary | AGENT |  | S | 1 | CONFIRM ROOM NAME
R4 | R4 ¦ S111 | Room ID, Secondary | PARCEL STORAGE |  | S | 1
R4 | R4 ¦ S112 | Room ID, Secondary | SERVER ROOM S122B |  | S | 1
R4 | R4 ¦ S113 | Room ID, Secondary | TRASH ROOM S124 |  | S | 1
R4 | R4 ¦ S114 | Room ID, Secondary | PARKING GARAGE |  | S | 1
R4 | R4 ¦ S115 | Room ID, Secondary | TRASH ROOM S137 |  | S | 1
R4 | R4 ¦ S116 | Room ID, Secondary | BIKE ROOM S129 |  | S | 1
R4 | R4 ¦ S117 | Room ID, Secondary | PARKING GARAGE |  | S | 1
R4 | R4 ¦ S118 | Room ID, Secondary | TRASH ROOM S137 |  | S | 1
R4 | R4 ¦ S119 | Room ID, Secondary | PARKING GARAGE |  | S | 1
R4 | R4 ¦ S120 | Room ID, Secondary | STAIR S3 |  | S | 1
R4 | R4 ¦ S121 | Room ID, Secondary | EXIT |  | S | 1 | GLASS MOUNT BACK TO BACK WITH RE-S103
R4 | R4 ¦ S122 | Room ID, Secondary | DOG WASH |  | S | 1 | GLASS MOUNT BACK TO BACK WITH RE-S104
R4 | R4 ¦ S201 | Room ID, Secondary | STORAGE S242 |  | S | 2
R4 | R4 ¦ S202 | Room ID, Secondary | DATA ROOM S241 |  | S | 2
R4 | R4 ¦ S203 | Room ID, Secondary | TRASH & RECYCLING |  | S | 2
R4 | R4 ¦ S204 | Room ID, Secondary | STORAGE S245 |  | S | 2
R4 | R4 ¦ S205 | Room ID, Secondary | DATA ROOM S244 |  | S | 2
R4 | R4 ¦ S206 | Room ID, Secondary | TRASH & RECYCLING |  | S | 2
R4 | R4 ¦ S301 | Room ID, Secondary | TRASH & RECYCLING |  | S | 3
R4 | R4 ¦ S302 | Room ID, Secondary | DATA ROOM S341 |  | S | 3
R4 | R4 ¦ S303 | Room ID, Secondary | STORAGE S342 |  | S | 3
R4 | R4 ¦ S304 | Room ID, Secondary | DATA ROOM S345 |  | S | 3
R4 | R4 ¦ S305 | Room ID, Secondary | STORAGE S344 |  | S | 3
R4 | R4 ¦ S306 | Room ID, Secondary | TRASH & RECYCLING |  | S | 3
R4 | R4 ¦ S401 | Room ID, Secondary | TRASH & RECYCLING |  | S | 4
R4 | R4 ¦ S402 | Room ID, Secondary | DATA ROOM S441 |  | S | 4
R4 | R4 ¦ S403 | Room ID, Secondary | STORAGE S442 |  | S | 4
R4 | R4 ¦ S404 | Room ID, Secondary | STORAGE S445 |  | S | 4
R4 | R4 ¦ S405 | Room ID, Secondary | DATA ROOM S444 |  | S | 4
R4 | R4 ¦ S406 | Room ID, Secondary | TRASH & RECYCLING |  | S | 4
R4 | R4 ¦ S501 | Room ID, Secondary | TRASH & RECYCLING |  | S | 5
R4 | R4 ¦ S502 | Room ID, Secondary | DATA ROOM S541 |  | S | 5
R4 | R4 ¦ S503 | Room ID, Secondary | STORAGE S542 |  | S | 5
R4 | R4 ¦ S504 | Room ID, Secondary | STORAGE S545 |  | S | 5
R4 | R4 ¦ S505 | Room ID, Secondary | DATA ROOM S544 |  | S | 5
R4 | R4 ¦ S506 | Room ID, Secondary | TRASH & RECYCLING |  | S | 5
R4 | R4 ¦ S601 | Room ID, Secondary | TRASH & RECYLCING |  | S | 6
R4 | R4 ¦ S602 | Room ID, Secondary | DATA ROOM S641 |  | S | 6
R4 | R4 ¦ S603 | Room ID, Secondary | STORAGE S642 |  | S | 6
R4 | R4 ¦ S604 | Room ID, Secondary | STORAGE S645 |  | S | 6
R4 | R4 ¦ S605 | Room ID, Secondary | DATA ROOM S644 |  | S | 6
R4 | R4 ¦ S606 | Room ID, Secondary | TRASH & RECYCLING |  | S | 6
MO | MO ¦ N101 | Maximum Occupancy | MAXIMUM OCCUPANCY 42 |  | N | 1
MO | MO ¦ N701 | Maximum Occupancy | MAXIMUM OCCUPANCY 210 |  | N | ROOF
MO | MO ¦ S101 | Maximum Occupancy | MAXIMUM OCCUPANCY 227 |  | S | 1 | CONFIRM OCCUPANCY NUMBER.
MO | MO ¦ S102 | Maximum Occupancy | MAXIMUM OCCUPANCY 99 |  | S | 1
MO | MO ¦ S201 | Maximum Occupancy | MAXIMUM OCCUPANCY 40 |  | S | 2
ICF | ICF ¦ 101 | In Case of Fire | SEE LAYOUT |  | N | 1
ICF | ICF ¦ N201 | In Case of Fire | SEE LAYOUT |  | N | 2
ICF | ICF ¦ N301 | In Case of Fire | SEE LAYOUT |  | N | 3
ICF | ICF ¦ N401 | In Case of Fire | SEE LAYOUT |  | N | 4
ICF | ICF ¦ N501 | In Case of Fire | SEE LAYOUT |  | N | 5
ICF | ICF ¦ N601 | In Case of Fire | SEE LAYOUT |  | N | 6
ICF | ICF ¦ N701 | In Case of Fire | SEE LAYOUT |  | N | ROOF
ICF | ICF ¦ S101 | In Case of Fire | SEE LAYOUT |  | S | 1
ICF | ICF ¦ S102 | In Case of Fire | SEE LAYOUT |  | S | 1
ICF | ICF ¦ S103 | In Case of Fire | SEE LAYOUT |  | S | 1
ICF | ICF ¦ S201 | In Case of Fire | SEE LAYOUT |  | S | 2
ICF | ICF ¦ S202 | In Case of Fire | SEE LAYOUT |  | S | 2
ICF | ICF ¦ S203 | In Case of Fire | SEE LAYOUT |  | S | 2
ICF | ICF ¦ S301 | In Case of Fire | SEE LAYOUT |  | S | 3
ICF | ICF ¦ S302 | In Case of Fire | SEE LAYOUT |  | S | 3
ICF | ICF ¦ S401 | In Case of Fire | SEE LAYOUT |  | S | 4
ICF | ICF ¦ S402 | In Case of Fire | SEE LAYOUT |  | S | 4
ICF | ICF ¦ S501 | In Case of Fire | SEE LAYOUT |  | S | 5
ICF | ICF ¦ S502 | In Case of Fire | SEE LAYOUT |  | S | 5
ICF | ICF ¦ S601 | In Case of Fire | SEE LAYOUT |  | S | 6
ICF | ICF ¦ S602 | In Case of Fire | SEE LAYOUT |  | S | 6
FACP | FACP ¦ N101 | Fire Alarm Control Panel | SEE LAYOUT |  | N | 1
FACP | FACP ¦ S102 | Fire Alarm Control Panel | SEE LAYOUT |  | S | 1
EVAC | EVAC ¦ N101 | Evacuation Plan | WEST UP |  | N | 1
EVAC | EVAC ¦ N102 | Evacuation Plan | NORTH UP |  | N | 1
EVAC | EVAC ¦ N201 | Evacuation Plan | SOUTH UP |  | N | 2
EVAC | EVAC ¦ N202 | Evacuation Plan | WEST UP |  | N | 2
EVAC | EVAC ¦ N203 | Evacuation Plan | WEST UP |  | N | 2
EVAC | EVAC ¦ N301 | Evacuation Plan | WEST UP |  | N | 3
EVAC | EVAC ¦ N302 | Evacuation Plan | NORTH UP |  | N | 3
EVAC | EVAC ¦ N303 | Evacuation Plan | SOUTH UP |  | N | 3
EVAC | EVAC ¦ N401 | Evacuation Plan | WEST UP |  | N | 4
EVAC | EVAC ¦ N402 | Evacuation Plan | NORTH UP |  | N | 4
EVAC | EVAC ¦ N403 | Evacuation Plan | SOUTH UP |  | N | 4
EVAC | EVAC ¦ N501 | Evacuation Plan | NORTH UP |  | N | 5
EVAC | EVAC ¦ N502 | Evacuation Plan | WEST UP |  | N | 5
EVAC | EVAC ¦ N503 | Evacuation Plan | SOUTH UP |  | N | 5
EVAC | EVAC ¦ N601 | Evacuation Plan | WEST UP |  | N | 6
EVAC | EVAC ¦ N602 | Evacuation Plan | NORTH UP |  | N | 6
EVAC | EVAC ¦ N603 | Evacuation Plan | SOUTH UP |  | N | 6
EVAC | EVAC ¦ N701 | Evacuation Plan | WEST UP |  | N | ROOF
EVAC | EVAC ¦ N702 | Evacuation Plan | EAST UP |  | N | ROOF
EVAC | EVAC ¦ N703 | Evacuation Plan | NORTH UP |  | N | ROOF
EVAC | EVAC ¦ S101 | Evacuation Plan | SOUTH UP |  | S | 1
EVAC | EVAC ¦ S102 | Evacuation Plan | WEST UP |  | S | 1
EVAC | EVAC ¦ S103 | Evacuation Plan | WEST UP |  | S | 1
EVAC | EVAC ¦ S104 | Evacuation Plan | NORTH UP |  | S | 1
EVAC | EVAC ¦ S201 | Evacuation Plan | WEST UP |  | S | 2
EVAC | EVAC ¦ S202 | Evacuation Plan | WEST UP |  | S | 2
EVAC | EVAC ¦ S203 | Evacuation Plan | WEST UP |  | S | 2
EVAC | EVAC ¦ S301 | Evacuation Plan | WEST UP |  | S | 3
EVAC | EVAC ¦ S302 | Evacuation Plan | WEST UP |  | S | 3
EVAC | EVAC ¦ S401 | Evacuation Plan | WEST UP |  | S | 4
EVAC | EVAC ¦ S402 | Evacuation Plan | WEST UP |  | S | 4
EVAC | EVAC ¦ S501 | Evacuation Plan | WEST UP |  | S | 5
EVAC | EVAC ¦ S502 | Evacuation Plan | WEST UP |  | S | 5
EVAC | EVAC ¦ S601 | Evacuation Plan | WEST UP |  | S | 6
EVAC | EVAC ¦ S602 | Evacuation Plan | WEST UP |  | S | 6
ER | ER ¦ N101 | Exit Path Plaque | EXIT |  | N | 1
ER | ER ¦ N102 | Exit Path Plaque | EXIT ROUTE |  | N | 1
ER | ER ¦ N103 | Exit Path Plaque | EXIT |  | N | 1 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ N104 | Exit Path Plaque | EXIT ROUTE |  | N | 1
ER | ER ¦ N105 | Exit Path Plaque | EXIT |  | N | 1
ER | ER ¦ N106 | Exit Path Plaque | EXIT |  | N | 1
ER | ER ¦ N201 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 2
ER | ER ¦ N202 | Exit Path Plaque | TO EXIT |  | N | 2
ER | ER ¦ N203 | Exit Path Plaque | TO EXIT |  | N | 2
ER | ER ¦ N204 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 2
ER | ER ¦ N301 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 3
ER | ER ¦ N302 | Exit Path Plaque | TO EXIT |  | N | 3
ER | ER ¦ N303 | Exit Path Plaque | TO EXIT |  | N | 3
ER | ER ¦ N304 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 3
ER | ER ¦ N401 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 4
ER | ER ¦ N402 | Exit Path Plaque | TO EXIT |  | N | 4
ER | ER ¦ N403 | Exit Path Plaque | TO EXIT |  | N | 4
ER | ER ¦ N404 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 4
ER | ER ¦ N501 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 5
ER | ER ¦ N502 | Exit Path Plaque | TO EXIT |  | N | 5
ER | ER ¦ N503 | Exit Path Plaque | TO EXIT |  | N | 5
ER | ER ¦ N504 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 5
ER | ER ¦ N601 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 6
ER | ER ¦ N602 | Exit Path Plaque | TO EXIT |  | N | 6
ER | ER ¦ N603 | Exit Path Plaque | TO EXIT |  | N | 6
ER | ER ¦ N604 | Exit Path Plaque | EXIT STAIR DOWN |  | N | 6
ER | ER ¦ S101 | Exit Path Plaque | EXIT |  | S | 1
ER | ER ¦ S102 | Exit Path Plaque | TO EXIT |  | S | 1
ER | ER ¦ S103 | Exit Path Plaque | TO EXIT |  | S | 1
ER | ER ¦ S104 | Exit Path Plaque | EXIT |  | S | 1 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ S105 | Exit Path Plaque | TO EXIT |  | S | 1
ER | ER ¦ S106 | Exit Path Plaque | EXIT |  | S | 1
ER | ER ¦ S107 | Exit Path Plaque | EXIT ROUTE |  | S | 1
ER | ER ¦ S108 | Exit Path Plaque | EXIT |  | S | 1
ER | ER ¦ S109 | Exit Path Plaque | EXIT |  | S | 1
ER | ER ¦ S110 | Exit Path Plaque | EXIT |  | S | 1 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ S111 | Exit Path Plaque | EXIT |  | S | 1 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ S114 | Exit Path Plaque | EXIT |  | S | 1
ER | ER ¦ S115 | Exit Path Plaque | TO EXIT |  | S | 1
ER | ER ¦ S116 | Exit Path Plaque | EXIT |  | S | 1 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ S117 | Exit Path Plaque | EXIT |  | S | 1 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ S118 | Exit Path Plaque | TO EXIT |  | S | 1
ER | ER ¦ S201 | Exit Path Plaque | TO EXIT |  | S | 2
ER | ER ¦ S203 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 2
ER | ER ¦ S204 | Exit Path Plaque | TO EXIT |  | S | 2
ER | ER ¦ S205 | Exit Path Plaque | TO EXIT |  | S | 2
ER | ER ¦ S206 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 2
ER | ER ¦ S208 | Exit Path Plaque | EXIT ROUTE |  | S | 2 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER.
ER | ER ¦ S209 | Exit Path Plaque | EXIT ROUTE |  | S | 2 | GLASS MOUNT. PROVIDE 3M PEARL GRAY BACKER..
ER | ER ¦ S210 | Exit Path Plaque | TO EXIT |  | S | 2
ER | ER ¦ S301 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 3
ER | ER ¦ S302 | Exit Path Plaque | TO EXIT |  | S | 3
ER | ER ¦ S304 | Exit Path Plaque | TO EXIT |  | S | 3
ER | ER ¦ S305 | Exit Path Plaque | TO EXIT |  | S | 3
ER | ER ¦ S306 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 3
ER | ER ¦ S307 | Exit Path Plaque | EXIT ROUTE |  | S | 3
ER | ER ¦ S401 | Exit Path Plaque | TO EXIT |  | S | 4
ER | ER ¦ S403 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 4
ER | ER ¦ S404 | Exit Path Plaque | TO EXIT |  | S | 4
ER | ER ¦ S405 | Exit Path Plaque | TO EXIT |  | S | 4
ER | ER ¦ S406 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 4
ER | ER ¦ S407 | Exit Path Plaque | TO EXIT |  | S | 4
ER | ER ¦ S501 | Exit Path Plaque | TO EXIT |  | S | 5
ER | ER ¦ S503 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 5
ER | ER ¦ S504 | Exit Path Plaque | TO EXIT |  | S | 5
ER | ER ¦ S505 | Exit Path Plaque | TO EXIT |  | S | 5
ER | ER ¦ S506 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 5
ER | ER ¦ S507 | Exit Path Plaque | TO EXIT |  | S | 5
ER | ER ¦ S601 | Exit Path Plaque | TO EXIT |  | S | 6
ER | ER ¦ S602 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 6
ER | ER ¦ S603 | Exit Path Plaque | TO EXIT |  | S | 6
ER | ER ¦ S604 | Exit Path Plaque | TO EXIT |  | S | 6
ER | ER ¦ S605 | Exit Path Plaque | EXIT STAIR DOWN |  | S | 6
ER | ER ¦ S606 | Exit Path Plaque | TO EXIT |  | S | 6
EGV | EGV â€¢ N101 | Entry Glass Vinyl | FIRE ALARM ANNUNCIATOR PANEL INSIDE ADDRESS RESIDENT LOBBY PROP. 65 MESSAGE SYMBOL OF ACCESSIBILITY RESIDENT ENTRY HC SYMBOL NO SMOKING PROP 65 WARNING
EGV | EGV â€¢ 101 | Entry Glass Vinyl | LOGO LEASING CENTER HOURS HC SYMBOL NO SMOKING PROP 65 WARNING |  | S | 1
EGV | EGV â€¢ 102 | Entry Glass Vinyl | LOGO RESIDENT ENTRY HC SYMBOL NO SMOKING PROP 65 WARNING |  | S | 1
EGV | EGV â€¢ 103 | Entry Glass Vinyl | LOGO RESIDENT ENTRY HC SYMBOL NO SMOKING PROP 65 WARNING |  | S | 1
EGV | EGV â€¢ 104 | Entry Glass Vinyl | LOGO RESIDENT ENTRY HC SYMBOL NO SMOKING PROP 65 WARNING |  | S | 1
EGV | EGV â€¢ 105 | Entry Glass Vinyl | LOGO FIRE ALARM ANNUNCIATOR PANEL INSIDE RESIDENT ENTRY HC SYMBOL NO SMOKING PROP 65 WARNING |  | S | 1
EGV | EGV â€¢ 106 | Entry Glass Vinyl | LOGO RESIDENT ENTRY HC SYMBOL NO SMOKING PROP 65 WARNING |  | S | 1
BB | BB â€¢ S101 | Clearance Beam | CAUTION - CLEARANCE X'-X" |  | S | 1
BB | BB â€¢ S102 | Clearance Beam | CAUTION - CLEARANCE X'-X" |  | S | 1